GMX ULTRA-SHIELD DAMPPROOFING SPECIFICATION

Section 07120 FLUID APPLIED DAMPPROOFING

Part 1 GENERAL

1.01 SYSTEM DESCRIPTION

Furnish and install GMX Ultra-Shield Dampproofing System for vertical and horizontal applications on parged cinder block and reinforced concrete in accordance with drawings and specifications.

1.02  REFERENCES

American Society of Testing Methods

ASTM C 836		 - 	Adhesion to Concrete

ASTM D 95		 -	Liquid Water Absorption

ASTM E 154		 -	Resistance to Degradation in Soil

ASTM D 4299-83	 -	Bacterial Attack

ASTM G 29-75	 -	Algal Attack

ASTM D 2020	 - 	Fungal Attack

1.03 QUALITY ASSURANCE

A) Manufacturer: Primary dampproofing materials shall be supplied by a single manufacturer to the greatest extent possible. Materials not provided directly by the manufacturer shall be approved by them prior to use.

B) Installer:  The application contractor should have a minimum three years successful experience in similar size and scope projects.  The contractor should be approved and/or acceptable to the manufacturer of primary dampproofing materials.

C) Pre-Application Conference:  Approximately two weeks prior to the scheduled application start date, the application contractor, installer of the substrate to receive the application, installers of other work in and around the dampproofing which precedes, follows and/or penetrates the dampproofing, architect, owner and dampproofing material manufacturer’s representative shall meet to review the methods and procedures related to the application including:

1.  Review of job site areas to be dampproofed.  Inspect and discuss the condition of the

substrate, drains, penetrations and other preparatory work performed by other trades.

2.  Review of dampproofing requirements i.e. drawings and specifications.

3.  Review required submittals.

4.  Review and finalize construction schedule related to the dampproofing work and

verify the availability of materials, trained personnel, equipment and facilities needed

to perform the application in a timely manner.

5.  Review required inspection, testing and certification procedures.

1.04 SUBMITTALS

A) Manufacturer’s product literature for each item listed in the installation instructions and general recommendations.

B) Manufacturer’s Material Safety Data Sheets (MSDS) for each item listed in the installation instructions and general recommendations.  The MSDS sheets should list the VOC content of each finished good (if applicable).

C) Installation contractor shall submit a letter from the primary dampproofing manufacturer stating that they are an approved system installer.

D) Shop drawings (if required) shall include an outline of the dampproofing area and type of penetrations, perimeter and special details.

1.05 DELIVERY, STORAGE AND HANDLING

A) Deliver materials in original, unopened containers labeled with the manufacturer’s name, brand name and installation instructions.

B) Store materials between 60°F and 80°F. Store materials in a dry area and protect from direct sunlight. Material shall not be allowed to freeze.

C) Any material exposed to the elements shall be elevated above the ground and covered by a tarpaulin.  Materials must not be exposed to excessive heat or direct flame.

D) Material shall be handled so as to minimize damage or contamination with moisture or foreign matter.  Solvent-based materials are combustible.  Keep containers closed.

1.06 JOB CONDITIONS

A) Dampproofing materials shall not be applied during inclement weather and the installation shall not proceed in the event that precipitation is probable during the application.

B) Dampproofing shall not be applied when temperatures are less than 25°F.

C) Store dampproofing materials at room temperature until immediately prior to use when the ambient temperature is 40°F or below.  Discontinue the application of dampproofing if the material cannot be stored at temperatures which permit even distribution during application.

D) When applying materials with spray equipment, take precautions to prevent overspray from damaging or defacing surrounding walls, building surfaces, vehicles or other property.

E) Avoid inhaling spray mist; take precautions to ensure adequate ventilation.

PART 2 - PRODUCTS

2.01 GENERAL

Components of the Ultra-Shield Dampproofing System shall be products of GMX, Inc. or accepted by GMX as compatible.

2.02 MEMBRANE

Ultra-Shield Dampproofing

PRODUCT SPECIFICATIONS:

Type:  Hydrocarbon solvent, liquid applied membrane.

Color:					Black.

Solids:					70% by weight

65% by volume

Density:				7.8 lbs. per gal.

Viscosity @ 100°F			450 (Brookfield, cps)

Flash Point °F				105 min.

Minimum Application Temp:		15°F

Application:				Brush, Roller, Spray

Application Rate:            		Min. 30 - 40 sq. ft. per gal.

Drying Time @ 77°F			4 Hours (touch)

Coating Cure Time:			12 to 24 hours.

Availability:				55 gallon drums.

Shelf Life				1 year

PROPERTY				TEST METHOD		 	RESULT

Adhesion to Concrete			ASTM C 836				Exceeds

Low Temp. Flex			Bend around 1.5 “ mandrel		Flexible to –10°F

Liquid Water Absorption		ASTM D 95				< .9% (weight)

Resistance to Soil Degradation	ASTM E 154				Excellent

Bacterial Attack			ASTM D 4299-83			No degradation

Algal Attack				ASTM G-29-75			No degradation

Fungal Attack				ASTM D 2020			No degradation

Resistance to Chemical Attack						Resistant to salts, acid

2.03  	RELATED MATERIALS

A) Asphalt Roofing Cement

B) Non-Shrinking Grout and/or Quick Dry Concrete Patching Materials

C) Pre-Fabricated Drainage Board

D) Insulation Board

E) Drain Tile

F) Geotextile Fabric

G) Gravel/Sand

H) Polyurethane Foam Adhesive

I) Flashing, Cant Strips, and Accessories

Part 3 EXECUTION

3.01 INSPECTION

A) Surfaces to be dampproofed shall be smooth and free of all elements detrimental to membrane performance.

B) Inspect for cracks, control joints and expansion joints; notify owner prior to proceeding.

C) Start of work presumes acceptability of substrate.

3.02 PREPARATION

A) The walls and footings must be dry and of sufficient strength and design to ensure structural integrity.  Concrete wall and mortar joints must cure a minimum of 16 hours before dampproofing is applied.

B) Remove dirt and debris from the footings and walls with a stiff brush or broom.  Scrape any debris from the walls and footings with a metal scraper.  Do not apply waterproofing materials over standing water or when rain is imminent.

C) Repair any cracks in excess of 1/16th inch along the footings or in the wall surface and all honeycombed surfaces with a non-shrinking grout.

D) Fill voids around tie holes, recessed ties and other small voids with an acceptable solvent based, asphalt fibered roof cement or a suitable cementitious repair material.

E) Install cant strips and similar accessories as indicated on the drawings and as recommended by the prime materials manufacturer even though not shown.

F) Mask off adjoining surfaces not to receive dampproofing to minimize spillage or overspray.

3.03 INSTALLATION

A) After all preparatory work has been completed, apply Ultra-Shield Dampproofing over all the planks, along the perimeter, along the joints between the foundation and the footings and the walls.

B) Apply Ultra-Shield Dampproofing at the specified thickness.

C) Extend dampproofing and flashings to provide complete membrane protection over the area to be dampproofed. Seal to projections through the membrane and seal seams, bond to vertical and horizontal surfaces as required by the manufacturer.

D) Apply protection, insulation and/or drainage board over the installed membrane within 24 to 48 hours after membrane application.  Allow the membrane to surface cure before applying board or drainage mat.   Extend board down to top of footing.

E) Install drain tile or strip drain as per the manufacturer’s instructions to ensure proper removal of water from the foundation walls and footings.

G) Leave the area clean of all debris and ready for the backfilling operation.  Backfill must be graded to direct surface water away from the exterior foundation walls.

3.04 PERFORMANCE REQUIREMENTS

It is required that the dampproofing membrane be watertight and not deteriorate in excess of the limitations published by the manufacturer.